## Tabelle1
https://www.ebi.ac.uk/metabolights/editor/guides/Assay/Assay_overview | NMR | Swate template: NMR sample | Swate template: NMR spectroscopy | LC_MS | GC_MS | Swate template: Chromatography | Swate template: Mass spectrometry
last updated: 02.07.2025
| sample name | sample |  | sample name | sample name
| Extraction protocol |  |  | Extraction protocol | Extraction protocol
| extraction method | solvent extraction |  | post extraction | post extraction | solvent extraction
|  |  |  | derivatization | derivatization | derivatisation
| (extract name) |  |  | (extract name) | (extract name)
NMR Sample protocol
| NMR tube type | NMR sample tube
| solvent | NMR solvent
| sample ph | sample pH
| temperature with unit | sample temperature
(labelled extract name)
| label | label
| NMR spectroscopy protocol |  |  | chromatography protocol | chromatography protocol | protocol type, protocol ref
| instrument |  | NMR instrument | chromatography instrument | chromatography instrument | chromatography instrument
| NMR probe |  | NMR probe | column model | column model | chromatography column model
| number of transients |  | Number of scans | column type | column type | chromatographyl model type
| pulse sequence name |  | Pulse sequence name | (labelled extract name) | (labelled extract name) | Sample name
| magnetic field strength + unit |  | magnetic field strength | label | label | label
| acquisition parameter data file |  | raw data file |  |  | raw data file
[5 empty] | autopsampler model | chromatography autosampler model
[5 empty] | guard column | chromatography guard column model
| NMR assay protocol |  |  | mass spectrometry protocol | mass spectrometry protocol |  | protocol type
| nmr assay name |  |  | scan polarity | scan polarity |  | scan polarity
| free induction decay data file |  |  | scan m/z range | scan m/z range |  | m/z acquisition range
|  |  |  | instrument | instrument |  | instrument
|  |  |  | ion source | ion source |  | ion source
|  |  |  | mass analyzer | mass analyzer |  | mass analzer
|  |  |  | ms assay name (s.o. für nmr) | ms assay name (s.o. für nmr) |  | sample name
|  |  |  | raw spectral data file | raw spectral data file |  | raw data file
| protocol ref data transformation |  |  | protocol ref data transformation | protocol ref data transformation
| normalization name |  |  | normalization name | normalization name
| derived spectral data file |  |  | derived spectral data file | derived spectral data file
| metabolite identification protocol |  |  | metabolite identification protocol | metabolite identification protocol
| data transformation name |  |  | data transformation name | data transformation name
| metabolite assignment file (MAF) |  |  | metabolite assignment file (MAF) | metabolite assignment file (MAF)